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Brook Hollow Solar
This is a fictional demonstration project in which every organisation, person, parcel and finding is invented.
One row of the risk matrix, EN-01 Land Use and Site Features, in the Environmental Resources section: what the record holds on it.
A desk review of the record as it stood: not a field survey and not a modelled study.
	Information cut-off
	2023-08-15

	Row in the matrix
	EN-01 Land Use and Site Features


1 Finding
2  Impacts likely but may be easily resolved
	The rule
	Code computed the rating from the assessor's inputs:
impact_likely=yes -> 2
Set by the rule

	Decision
	Released with flags

	The engine's reasons
	Agencies not in the register or the evidence: Transmission line owner (unidentified)

	Evidence state
	REPORTED · desktop, consultant or developer record


The assessor's comments
Existing 138 kV transmission line crosses the eastern portion of the Project Area. Land cover is predominantly row crops, with scattered woodlots along Sugar Run. Small de minimis farm debris pile near the Parcel 12 barn. No ALTA survey, title commitment or constraints map in the data room.
2 What the record shows
The five inputs
Present: yes
Documents describe an existing 138 kV transmission line crossing the eastern Project Area, scattered woodlots, and a de minimis debris pile (C-fe67965fc1, C-71ef7a1eed, C-18f20d1141).
Cites C-fe67965fc1, C-71ef7a1eed, C-18f20d1141
Extent: peripheral
The line crosses only the eastern portion and is not described as bisecting the site; land cover is predominantly row crops, and parcel 7 shows upland soils with no hydric indicators (C-fe67965fc1, C-f9e7a3aa8c, C-58cb5b6f6c). Easement width and share of area are undocumented. The developer overview cites approximately 1,050 leased acres (C-0ebae50e80) versus the canonical 1,356-acre project figure; the difference is unreconciled but does not change the peripheral judgment, since the line is confined to one portion.
Cites C-fe67965fc1, C-f9e7a3aa8c, C-58cb5b6f6c, C-0ebae50e80
Avoidable: yes
Professional judgment: a 138 kV line is typically accommodated by setbacks and siting around the corridor, or by a crossing agreement; nothing indicates relocation is needed. Woodlots are scattered and the debris pile is de minimis with removal recommended (C-fe67965fc1, C-71ef7a1eed, C-18f20d1141).
Cites C-fe67965fc1, C-71ef7a1eed, C-18f20d1141
Pathway: standard
Professional judgment: setbacks and encroachment or crossing consent from the line owner are the usual route; no relocation or easement release is indicated (C-fe67965fc1).
Cites C-fe67965fc1
Impact likely: yes
Professional judgment: a transmission line crossing part of the site likely requires setbacks and possibly crossing agreements for collection lines or roads, reducing some layout flexibility. Easement width and owner are undocumented (C-fe67965fc1).
Cites C-fe67965fc1
Supporting statements (6)
Each claim the row cites: the statement in the assessor's words, then the quote the engine found on the page.
C-0ebae50e80
The project covers approximately 1,050 acres of leased farmland.
Quoted from page 1
on approximately 1,050 acres of leased farmland
Brook Hollow Project Overview 2023-03-15 · DR-0001 · Page 1 · 2023-03-15
Source developer_document · Claim type project_fact · Polarity neutral · Confidence high · Quote check exact, 100 of 100
Cited by EN-03 · Filed under EN-01, EN-03
C-18f20d1141
A small de minimis farm debris pile was observed near the Parcel 12 barn; removal is recommended.
Quoted from page 1
A small farm debris pile (de minimis) was observed near the Parcel 12 barn; removal is recommended.
Phase I ESA 2023-01-20 · DR-0004 · Page 1 · 2023-01-20
Source field_study · Claim type presence · Polarity presence · Confidence high · Quote check exact, 100 of 100
Cited by EN-04, CU-01, CU-02 · Filed under EN-01, EN-04
C-58cb5b6f6c
Parcel 7 has upland soils and row crops with no hydric indicators.
Quoted from page 3
Upland soils, row crops, no hydric indicators.
Wetland and Stream Delineation Report May2023 · DR-0005 · Page 3 · 2023-05-22
Source field_study · Claim type presence · Polarity neutral · Confidence medium · Quote check exact, 100 of 100
Cited by EN-03 · Filed under EN-01, EN-03
C-71ef7a1eed
Scattered woodlots occur along Sugar Run.
Quoted from page 1
scattered woodlots along Sugar Run
Brook Hollow Project Overview 2023-03-15 · DR-0001 · Page 1 · 2023-03-15
Source developer_document · Claim type presence · Polarity presence · Confidence medium · Quote check exact, 100 of 100
Cited by EC-01, EC-02 · Filed under AQ-01, EC-02, EN-01
C-f9e7a3aa8c
Land cover is predominantly row crops (corn and soybeans).
Quoted from page 1
Land cover is predominantly row crops (corn and soybeans)
Brook Hollow Project Overview 2023-03-15 · DR-0001 · Page 1 · 2023-03-15
Source developer_document · Claim type presence · Polarity presence · Confidence high · Quote check exact, 100 of 100
Cited by EN-03 · Filed under EN-01, EN-03
C-fe67965fc1
An existing 138 kV transmission line crosses the eastern portion of the Project Area.
Quoted from page 1
An existing 138 kV transmission line crosses the eastern portion of the Project Area.
Brook Hollow Project Overview 2023-03-15 · DR-0001 · Page 1 · 2023-03-15
Source developer_document · Claim type presence · Polarity presence · Confidence high · Quote check exact, 100 of 100
Cited by PE-03 · Filed under EN-01, PE-03
3 Permits and requirements
The requirements tied to the rows of this report, by level. Each quote from dated law is shown with its source, the version in force on the cut-off and the basis for it.
No requirement is tied to the rows of this report.
4 What is missing
The information requests the run raised for the rows of this report, by priority: what is missing, what follows from it, and whether it holds up the decision.
Medium priority (2)
IR-196b9ca318 · Medium priority
Provide the alta/nsps survey or title commitment with easements for the project area, or confirm none exists.
	Missing evidence
	ALTA/NSPS survey or title commitment with easements

	Consequence
	Land Use and Site Features is rated on partial evidence without it.

	Blocks the decision
	No

	Raised by
	completeness


IR-e8a82effe6 · Medium priority
Provide the site layout or constraints map for the project area, or confirm none exists.
	Missing evidence
	Site layout or constraints map

	Consequence
	Land Use and Site Features is rated on partial evidence without it.

	Blocks the decision
	No

	Raised by
	completeness


5 Next steps and agencies
Next steps
Identify line owner; obtain its setback and encroachment requirements.
Obtain ALTA survey/title commitment; confirm line location and easement width against parcel layout.
Remove Parcel 12 debris pile; check for adjacent protected or federal lands.
Agencies
Transmission line owner (unidentified)
County
6 Basis and limits
This report is a desk review of the documents quoted above, as the engine read them for an information cut-off of 2023-08-15.
It is not a field survey and not a modelled study: this review made no site visit and ran no acoustic, hydraulic or other model. Where the record is silent, the report says what is missing; it does not fill the gap.
Every statement, figure and quote is the engine's record as written. The headings and connecting words are fixed text of this room, the same in every report.
Documents quoted (3)
Brook Hollow Project Overview 2023-03-15 · DR-0001 · 2023-03-15 · page 1
Phase I ESA 2023-01-20 · DR-0004 · 2023-01-20 · page 1
Wetland and Stream Delineation Report May2023 · DR-0005 · 2023-05-22 · page 3
Versions and data hashes
As the engine and the exporter recorded them. Hashes are SHA-256.
	Information cut-off
	2023-08-15

	Engine version
	0.1.0

	Prompt version
	2026-10-02.1

	Rows pack
	rows.json sha256 d1df27b21f79b09d

	Federal pack
	federal.json sha256 aa17c41356542d46

	State pack
	none

	Local pack
	Not written by this engine

	Data room manifest
	6141b7dc1f8441489d39e4023d551e4c0021a37ce4f9ad157607d9096c58bfb5

	Audit chain
	valid (92 events)

	QA status
	PASS

	Rendered at
	2026-10-01T21:09:12+00:00

	Run record (annex)
	a03418c2562baa8a57b7c256ce665acd2c20e92d06e365604d162e9029f8fdd6

	Exporter
	Prism/room/exporter 1.4.0
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