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Wetlands and waters report
Scottsville Screen Test
This is a test boundary screened against public map layers, not a real project.
Wetlands, streams, ponds, ditches and other surface waters in or crossing the study area, and whether they may be regulated waters.
A desk review of the record as it stood: not a field survey and not a modelled study.
	Map screen ran
	2026-10-02T16:38:31+00:00

	Map layers
	USFWS National Wetlands Inventory
USGS National Hydrography Dataset (high resolution)


1 Finding
This project is a map screen only. No row of the risk matrix was rated, so this report gives no rating; what the screen measured is set out under Map screening.
2 What the record shows
No data-room documents were reviewed for this report. The project is a map screen only: its record is the screen's measurements, set out under Map screening.
3 Map screening
The project boundary screened against public map layers. The figures are the engine's measurements as it recorded them, with each layer's status and notes.
The boundary
	Acres
	713.79

	Perimeter in miles
	4.11

	Boundary document
	DR-0001 · Project Boundary

	Rule
	only polygon document, single feature

	Mirrors allowed
	Yes

	Required layers that failed
	None

	Accepted gaps
	None

	Ran at
	2026-10-02T16:38:31+00:00


[image: ]
USFWS National Wetlands Inventory
nwi_wetlands
	Status
	ok

	Authoritative source
	Yes

	Exists only as today's version
	Yes

	Findings
	2

	Notes
	NWI mapping-status layer not read: NWI mapping status ids: HTTP 500

	Metrics
	acres_by_type 
Freshwater Emergent Wetland 0.54
Freshwater Forested/Shrub Wetland 3.65
Freshwater Pond 3.28
Riverine 58.39
acres_by_code 
R2UBH 52.18
R4SBC 6.18
PFO1A 3.65
PUBHh 3.28
PEM1F 0.32
PEM1Fh 0.22
R5UBH 0.02
acres_total 65.86
polygons_inside 12
polygons_within_quarter_mile_outside 13


USGS National Hydrography Dataset (high resolution)
nhd_hydrography
	Status
	ok

	Authoritative source
	Yes

	Exists only as today's version
	Yes

	Findings
	3

	Metrics
	feet_by_type 
artificial path (centerline through a waterbody) 5852
intermittent stream 14448
stream_feet 20300
named_streams_feet 
James River 4488
waterbody_acres 3.72
waterbodies Mink Creek (3.7 ac)
area_feature_acres 51.12


4 Permits and requirements
A map screen does not assess permits or requirements, so none are listed.
5 What is missing
A map screen raises no information requests. Each layer's status and notes, under Map screening, say where its data fell short.
6 Next steps and agencies
A map screen gives no next steps or agencies.
7 Basis and limits
This report is a desk review of the public map layers named above, screened on 2026-10-02T16:38:31+00:00. No data-room documents were reviewed, and the screen records no information cut-off.
It is not a field survey and not a modelled study: this review made no site visit and ran no acoustic, hydraulic or other model. Where the record is silent, the report says what is missing; it does not fill the gap.
Every statement, figure and quote is the engine's record as written. The headings and connecting words are fixed text of this room, the same in every report.
Versions and data hashes
As the engine and the exporter recorded them. Hashes are SHA-256.
	Screen record
	5e21f0c14267b833bd3f862e230da65829a9ba160a167c6fe009eb63cca69c17

	Map image
	216a5478c8b3c19a452788afee691d150cf59c85bb420db616c586d12094e6bd

	Boundary geometry
	9a467b459c29c0c77a52b7bf3fc74ac342c83f06fca792a5036cdab6c0eefa80

	Exporter
	Prism/room/exporter 1.4.0
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Scottsville Screen Test: mapped constraints (desktop screening)
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