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Local Zoning & Permitting: desk report
Tamsin Ridge Solar and Storage
This is a fictional demonstration project in which every organisation, person, parcel and finding is invented.
One row of the risk matrix, PE-01 Local Zoning & Permitting, in the Additional Permitting section: what the record holds on it.
A desk review of the record as it stood: not a field survey and not a modelled study.
	Information cut-off
	2023-08-01

	Row in the matrix
	PE-01 Local Zoning & Permitting


1 Finding
3  Resource is present, likely difficult to address
up to 4  Potential fatal flaw
The engine shows this rating as 3-4
	The rule
	Code computed the rating from the assessor's inputs:
extent=core, avoidable=partly -> 3
Set by the rule

	Decision
	Released with flags

	The engine's reasons
	Uncited absence claims to weigh: C-28e17ecd77

	Evidence state
	VERIFIED · field study or agency determination


The assessor's comments
No county or township zoning applies, so no local zoning, conditional use or setback approval is required. Residents have petitioned commissioners to prohibit the facility and designate Harrison Township a restricted area; the Board may decide within 90 days of the county meeting. County hauling and driveway permits still apply.
Worst case
If what is pending at the cut-off went badly, the same rule gives a higher rating.
	Scenario
	Commissioners adopt a resolution prohibiting the facility or designating Harrison Township a restricted area, barring the OPSB application.

	Step still pending
	Board of County Commissioners decision under ORC 303.62 within 90 days of the county public meeting, or a restricted-area resolution under ORC 303.58

	Inputs in the worst case
	Extent core · Avoidable no · Pathway prohibition · Impact likely yes

	The rule on the worst case
	worst case: pathway=prohibition -> 4 potential fatal flaw

	Claims that make it plausible
	C-24271b647d, C-33a9601349, C-a1e4999eda, C-27017a88b6, C-e3e7beda35


2 What the record shows
The five inputs
Present: yes
Local approvals are required even though zoning is absent. C-09acff9294 and C-8041623932 show no county or township zoning approval applies, but the SB 52 county controls (OH-SB52; C-07afad26a4, C-33a9601349, C-a1e4999eda) apply, and county driveway and hauling permits are required (C-e6b7316e42, C-489ba43d8d, C-854b149715). Township road use agreement per L-01.
Cites C-09acff9294, C-8041623932, C-07afad26a4, C-33a9601349, C-a1e4999eda, C-e6b7316e42, C-489ba43d8d, C-854b149715
Extent: core
The SB 52 county public meeting and commissioners' power to prohibit or limit boundaries govern the whole facility (C-33a9601349, C-07afad26a4). The zoning letter confirms no local zoning, setback or screening standard applies (C-8041623932, C-2a27cb9782).
Cites C-33a9601349, C-07afad26a4, C-8041623932, C-2a27cb9782
Avoidable: partly
Friction is documented for the site's own jurisdiction: a resident petition asks commissioners to prohibit the facility and designate Harrison Township a restricted area (C-24271b647d), opponents raised setbacks and screening (C-87c8ed2e8e), and a neighbors' group said it would intervene (C-e3e7beda35). Commissioners took no action and will decide within 90 days (C-27017a88b6). Counsel found no restricted-area resolution for Harrison Township at the conference date (C-0fe7f42a17), so denial is not yet realistic on the record.
Cites C-24271b647d, C-87c8ed2e8e, C-e3e7beda35, C-27017a88b6, C-0fe7f42a17
Pathway: individual
The county's discretionary prohibition or boundary-limit decision is under active contest (C-24271b647d, C-33a9601349, C-27017a88b6), and staff note cases with local opposition take longer (C-b61135956d). No restricted area or prohibition is in force, so not prohibition.
Cites C-24271b647d, C-33a9601349, C-27017a88b6, C-b61135956d, C-0fe7f42a17
Impact likely: yes
Local approvals are required: county hauling and driveway permits, road bond and agreement, township road use agreement, and the county SB 52 process (C-489ba43d8d, C-e6b7316e42, C-1af8ef8e00, C-84c9333669).
Cites C-489ba43d8d, C-e6b7316e42, C-1af8ef8e00, C-84c9333669
Supporting statements (17)
Each claim the row cites: the statement in the assessor's words, then the quote the engine found on the page.
C-07afad26a4
Applicant must hold a public meeting in Carroll County 90 to 300 days before filing the application (ORC 303.61).
Quoted from page 1
the
 applicant must hold a public meeting in Carroll County at least 90 and not more than 300 days before filing the application
OPSB Pre-Application Conference Summary - Tamsin Ridge Solar and Storage Project · DR-0026 · Page 1 · 2023-03-28
Source agency_determination · Claim type regulatory · Polarity presence · Confidence medium · Quote check exact, 100 of 100
Filed under CO-02, PE-01
C-09acff9294
Carroll County has not adopted a county zoning resolution, and Harrison Township has not adopted a township zoning resolution under ORC Chapter 519.
Quoted from page 1
Carroll County has not adopted a county zoning resolution. Harrison Township has not adopted a township zoning resolution under ORC Chapter 519.
Zoning Verification - Tamsin Ridge Solar and Storage Project · DR-0022 · Page 1 · 2023-02-14
Source agency_determination · Claim type absence · Polarity absence · Confidence high · Quote check exact, 100 of 100
Cited by PE-07 · Filed under PE-01, PE-07
C-0fe7f42a17
Counsel's search found no ORC 303.58 restricted-area resolution for Harrison Township on the conference date.
Quoted from page 1
Counsel's search found no such resolution for Harrison Township on the date of the
OPSB Pre-Application Conference Summary - Tamsin Ridge Solar and Storage Project · DR-0026 · Page 1 · 2023-03-28
Source consultant_memo · Claim type absence · Polarity absence · Confidence high · Quote check exact, 100 of 100
Cited by PE-07 · Filed under PE-01, PE-07
C-1af8ef8e00
Carroll County requires a special hauling permit, a bond of at least $25,000 per mile, and a Roadway Use and Maintenance Agreement.
Quoted from page 2
a
bond of at least $25,000 per mile, with the Board of County Commissioners as obligee, and a Roadway Use and
Maintenance Agreement for Power Facilities.
Traffic and Access Memo - Tamsin Ridge Solar and Storage Project · DR-0020 · Page 2 · 2023-06-19
Source consultant_memo · Claim type regulatory · Polarity presence · Confidence high · Quote check exact, 100 of 100
Filed under EG-03, PE-01
C-24271b647d
A petition signed by 212 residents asks commissioners to adopt a resolution prohibiting the facility and designate Harrison Township a restricted area for large solar.
Quoted from page 1
It asks the Board of County Commissioners to adopt a resolution under ORC 303.62 prohibiting the facility and to designate Harrison Township a restricted area for large solar facilities under ORC 303.58.
Summary of the County Public Meeting under ORC 303.61 - Tamsin Ridge · DR-0023 · Page 1 · 2023-05-12
Source developer_document · Claim type stakeholder · Polarity presence · Confidence high · Quote check exact, 100 of 100
Cited by CO-02, PE-07 · Filed under CO-02, PE-01, PE-07
C-27017a88b6
Commissioners took no action at the meeting; the Board would decide within the statutory 90 days after the meeting.
Quoted from page 1
One commissioner said the Board would decide within the 90 days the statute allows after this meeting
Summary of the County Public Meeting under ORC 303.61 - Tamsin Ridge · DR-0023 · Page 1 · 2023-05-12
Source developer_document · Claim type regulatory · Polarity neutral · Confidence high · Quote check exact, 100 of 100
Cited by CO-02, PE-07 · Filed under CO-02, PE-01, PE-07
C-2a27cb9782
No setback waivers have been requested because no local or state setback applies to the solar facility.
Quoted from page 2
No setback waivers have been requested, because no local or state setback applies to the solar facility.
Option and Lease Summary - Tamsin Ridge Solar and Storage Project · DR-0004 · Page 2 · 2023-05-30
Source developer_document · Claim type absence · Polarity absence · Confidence high · Quote check exact, 100 of 100
Cited by PE-05 · Filed under PE-01, PE-05
C-33a9601349
Within 90 days after the county public meeting, the Board of County Commissioners may adopt a resolution prohibiting the facility or limiting its boundaries (ORC 303.62).
Quoted from page 1
the Board of County Commissioners may adopt a resolution
 prohibiting the facility or limiting its boundaries (ORC 303.62)
OPSB Pre-Application Conference Summary - Tamsin Ridge Solar and Storage Project · DR-0026 · Page 1 · 2023-03-28
Source agency_determination · Claim type regulatory · Polarity presence · Confidence high · Quote check exact, 100 of 100
Cited by CO-02, PE-07 · Filed under CO-02, PE-01, PE-07
C-489ba43d8d
A Special Hauling Permit is required before heavy hauling on county roads, with no permit charge.
Quoted from page 1
A Special Hauling Permit is required before any heavy hauling on county roads. There is no charge for the permit.
Haul Route Review Comments - Tamsin Ridge Solar and Storage Project · DR-0029 · Page 1 · 2023-07-05
Source agency_determination · Claim type regulatory · Polarity presence · Confidence high · Quote check exact, 100 of 100
Cited by EG-03 · Filed under EG-03, PE-01
C-8041623932
No local zoning, conditional use, variance or site plan approval is required, and no local setback, height or screening standard applies to the proposed facility.
Quoted from page 1
No local zoning permit, conditional use permit, variance or
 site plan approval is therefore required for the proposed facility, and no local setback, height or screening
 standard applies to it.
Zoning Verification - Tamsin Ridge Solar and Storage Project · DR-0022 · Page 1 · 2023-02-14
Source agency_determination · Claim type absence · Polarity absence · Confidence high · Quote check exact, 100 of 100
Cited by EG-04, VI-01 · Filed under EG-04, PE-01, VI-01
C-84c9333669
Battery enclosures, substation equipment and cranes are overweight or oversize loads needing county and township permits.
Quoted from page 1
The battery enclosures, the
substation equipment and the cranes are overweight or oversize loads and will need county and township
permits as well.
Traffic and Access Memo - Tamsin Ridge Solar and Storage Project · DR-0020 · Page 1 · 2023-06-19
Source consultant_memo · Claim type constraint · Polarity presence · Confidence high · Quote check exact, 100 of 100
Filed under EG-03, PE-01
C-854b149715
Driveway permits are needed for the four construction entrances through the Engineer's office; temporary access option is acceptable for the two Fescue Road entrances.
Quoted from page 1
Driveway permits for the four construction entrances through the Engineer's office;
Email: RE: Haul route and county road permits - Tamsin Ridge · DR-0027 · Page 1 · 2023-07-06
Source correspondence · Claim type regulatory · Polarity presence · Confidence high · Quote check exact, 100 of 100
Filed under EG-03, PE-01
C-87c8ed2e8e
Opponents raised property values and views, requesting 500-foot setbacks from homes and taller screening.
Quoted from page 1
Property values and views, with requests for 500-foot setbacks from homes and taller screening.
Summary of the County Public Meeting under ORC 303.61 - Tamsin Ridge · DR-0023 · Page 1 · 2023-05-12
Source developer_document · Claim type stakeholder · Polarity presence · Confidence high · Quote check exact, 100 of 100
Cited by CO-02, VI-01 · Filed under CO-02, PE-01, VI-01
C-a1e4999eda
A resolution designating restricted areas under ORC 303.58 would bar an application for a facility within them.
Quoted from page 1
a resolution designating restricted areas under ORC 303.58 would bar an application for a
OPSB Pre-Application Conference Summary - Tamsin Ridge Solar and Storage Project · DR-0026 · Page 1 · 2023-03-28
Source agency_determination · Claim type regulatory · Polarity presence · Confidence high · Quote check exact, 100 of 100
Cited by PE-07 · Filed under PE-01, PE-07
C-b61135956d
Staff indicated solar cases with active local opposition have recently taken 9 to 14 months from filing to decision.
Quoted from page 2
Staff indicated that solar cases with active local opposition have
 recently taken 9 to 14 months from filing to decision.
OPSB Pre-Application Conference Summary - Tamsin Ridge Solar and Storage Project · DR-0026 · Page 2 · 2023-03-28
Source agency_determination · Claim type schedule · Polarity neutral · Confidence high · Quote check exact, 100 of 100
Cited by CO-02, PE-02 · Filed under PE-01, PE-02
C-e3e7beda35
Harrison Township Neighbors for Farmland said it would intervene in the OPSB case and pursue a referendum if the county acted on restricted areas and the decision were challenged.
Quoted from page 1
A group of neighbors, Harrison Township Neighbors for Farmland, said it would intervene in the OPSB case and would pursue a referendum if the county acted on restricted areas and the decision were challenged.
Summary of the County Public Meeting under ORC 303.61 - Tamsin Ridge · DR-0023 · Page 1 · 2023-05-12
Source developer_document · Claim type stakeholder · Polarity presence · Confidence high · Quote check exact, 100 of 100
Cited by CO-02 · Filed under CO-02, PE-07
C-e6b7316e42
Driveway permits are required for each entrance on a county road, issued by the Board of County Commissioners through the Engineer's office.
Quoted from page 1
Driveway permits are required for each entrance on a county road, issued by the Board of County
 Commissioners through this office.
Haul Route Review Comments - Tamsin Ridge Solar and Storage Project · DR-0029 · Page 1 · 2023-07-05
Source agency_determination · Claim type regulatory · Polarity presence · Confidence high · Quote check exact, 100 of 100
Cited by EG-03 · Filed under EG-03, PE-01
3 Permits and requirements
The requirements tied to the rows of this report, by level. Each quote from dated law is shown with its source, the version in force on the cut-off and the basis for it.
State (7)
Certificate of environmental compatibility and public need for a major utility facility (electric generating plant of 50 MW or more), standard certificate application
OH-OPSB · Ohio Power Siting Board (OPSB)
	Applicability
	Required

	Instrument
	ORC 4906.01, 4906.04, 4906.06, 4906.07, 4906.10 and 4906.13; OAC 4906-2, 4906-3 and 4906-4

	Trigger
	Construction of an electric generating plant, including a solar plant, designed for or capable of operating at 50 MW or more.

	Description
	An electric generating plant designed for, or capable of, 50 MW or more is a major utility facility, and no one may commence to construct one without an OPSB certificate. The generation-facility application content rules (OAC 4906-4-08) include a fire protection, safety and medical emergency plan developed with local responders. The chairman accepts the application as complete or rejects it within 60 days of receipt, and the hearing is set 60 to 90 days after receipt of a complying application. The board may not grant a certificate, as proposed or as modified, unless it makes the findings in ORC 4906.10(A). Once certificated, no public agency or political subdivision may require any approval, consent, permit or other condition for construction or operation (PE-01); state worker-protection laws and municipal rules not about location or design still apply. Whether a state fire-code or building permit still applies is not settled by the library text.

	Typical timeline
	Law: the chairman accepts or rejects the application within 60 days of receipt (OAC 4906-3-06(A)); the public hearing is fixed not less than 60 nor more than 90 days after receipt of a complying application (ORC 4906.07(A)); the staff report is due 15 days before the hearing and OPSB says it typically comes 60 to 90 days after the completeness letter. The library sets no overall deadline for the Board's decision. Practice estimate: about a year or more from filing to a Board decision on a contested solar case, plus the pre-application public meetings that must come first (see OH-OPSB-PUBLIC and OH-SB52).

	Version of the law on the cut-off
	As in force from 2023-05-15 (the library text)

	As of the cut-off
	As of the cut-off: The OPSB adopted revised rules in OAC Chapters 4906-1 to 4906-7 after a review begun in 2020. They add requirements for solar facilities, including setbacks for panel modules of at least 50 feet from non-participating parcel boundaries, 300 feet from non-participating residences and 150 feet from the edge of pavement of roads. They took effect 2024-05-30 and apply to applications filed on or after that date. Not in force on 2023-08-01: the OAC 4906-4 text cited here is the 2015 to 2020 text. As of 2023-04-19 the OPSB's rule-review page showed the review still pending. (2023-07-20)

	Verification
	PACK_PENDING_QUALIFIED_REVIEW

	Source
	pack:oh.json

	In the permit matrix
	OH-OPSB


Legal basis: 8 quotes from dated law
Quoted from the law, page 1
"Major utility facility" means: (a) Electric generating plant and associated facilities designed for, or capable of, operation at a capacity of fifty megawatts or more;
Source ORC 4906 Power Siting Board · page 1 · version 2023-08-01
In force from 2021-10-11 to 2025-08-13, section 4906.01
4906.01: version effective 2021-10-11; first change after it 2025-08-14 (Am. Sub. H.B. 15, 136th GA), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 9
No person shall commence to construct a major utility facility in this state without first having obtained a certificate for the facility.
Source ORC 4906 Power Siting Board · page 9 · version 2023-08-01
In force from 1981-11-15 to 2026-10-03, section 4906.04
4906.04: version effective 1981-11-15, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 13
the power siting board shall promptly fix a date for a public hearing thereon, not less than sixty nor more than ninety days after such receipt, and shall conclude the proceeding as expeditiously as practicable.
Source ORC 4906 Power Siting Board · page 13 · version 2023-08-01
In force from 2012-09-10 to 2025-08-13, section 4906.07
4906.07: version effective 2012-09-10; first change after it 2025-08-14 (Am. Sub. H.B. 15, 136th GA), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 16
The board shall not grant a certificate for the construction, operation, and maintenance of a major utility facility, either as proposed or as modified by the board, unless it finds and determines all of the following:
Source ORC 4906 Power Siting Board · page 16 · version 2023-08-01
In force from 2021-10-11 to 2025-08-13, section 4906.10
4906.10: version effective 2021-10-11; first change after it 2025-08-14 (Am. Sub. H.B. 15, 136th GA), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 20
authorized by a certificate issued pursuant to Chapter 4906. of the Revised Code. Nothing herein shall prevent the application of state laws for the protection of employees engaged in the construction of such facility or wind farm nor of municipal regulations that do not pertain to the location or design of,
Source ORC 4906 Power Siting Board · page 20 · version 2023-08-01
In force from 2019-10-22 to 2026-10-03, section 4906.13
4906.13: version effective 2019-10-22, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 8
the chairman shall examine the certificate application to determine compliance with Chapters 4906-1 to 4906-7 of the Administrative Code. Within sixty days following receipt, the chairman shall either:
Source OAC 4906 3 OPSB application filing · page 8 · version 2023-08-01
In force from 2015-12-11 to 2024-05-29, section 4906-3-06
4906-3-06: version effective 2015-12-11; first change after it 2024-05-30 (OPSB Case 21-902-GE-BRO (determination 2023-07-20)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 19
Describe the fire protection, safety, and medical emergency plan(s) to be used during construction and operation of the facility, and how such plan(s) will be developed in consultation with local emergency responders.
Source OAC 4906 4 OPSB generation facility applications · page 19 · version 2023-08-01
In force from 2018-04-26 to 2024-05-29, section 4906-4-08
4906-4-08: version effective 2018-04-26; first change after it 2024-05-30 (OPSB Case 21-902-GE-BRO (determination 2023-07-20)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 1
The staff report is due 15 days prior to the scheduled public hearing and typically is submitted between 60 and 90 days after the letter of completeness has been issued.
Source OPSB standard application process · page 1 · version 2023-05-15
May be cited on the cut-off date.
SB 52 county controls on large solar facilities: restricted areas, the county public meeting and resolution, the two voting ad hoc board members, and the PJM exemption in Section 4
OH-SB52 · Board of county commissioners and boards of township trustees (county controls); Ohio Power Siting Board (OPSB)
	Applicability
	Required

	Instrument
	Senate Bill 52, 134th General Assembly (effective 2021-10-11), including its uncodified Section 4; ORC 303.57 to 303.62, 4906.02, 4906.021 to 4906.025, 4906.101 to 4906.103, 4906.30 and 4906.31

	Trigger
	An application for a certificate for a large solar facility that is not exempt under Section 4 of SB 52.

	Description
	A board of county commissioners may designate all or part of the unincorporated county as a restricted area where large solar facilities are prohibited. The resolution takes effect 30 days after adoption unless a referendum petition is filed, and no one may file an application for a prohibited facility there. Otherwise the developer must hold a public meeting in each county 90 to 300 days before applying; within 90 days the commissioners may prohibit the facility or limit its boundaries. The board includes two voting ad hoc members for the township trustees and county commissioners. Section 4 exempts a large solar facility in the PJM new services queue if, as of the act's effective date, its application had been found to comply with the application requirements and accepted by the board, and the applicant had a completed PJM system impact study and had paid the facilities study fee. Whether the county has designated a restricted area, and whether the exemption is met, are facts to confirm with the county and PJM records.

	Typical timeline
	Law: the county meeting is held 90 to 300 days before the application, and the commissioners may act within 90 days of it, so a filing cannot sensibly come sooner than about 90 days after the meeting (a reading of the two periods). A restricted-area resolution takes effect 30 days after adoption unless a referendum petition is filed.

	Version of the law on the cut-off
	SB 52 as enacted (statute text only)

	As of the cut-off
	As of the cut-off: SB 52 took effect. This is the 'effective date' that Section 4 uses for the PJM test (completed system impact study and paid facilities study fee) and that Section 5 uses for ad hoc members on applications not yet accepted. (2021-10-11)

	Verification
	PACK_PENDING_QUALIFIED_REVIEW

	Source
	pack:oh.json

	In the permit matrix
	OH-SB52


Legal basis: 11 quotes from dated law
Quoted from the law, page 3
The board of county commissioners may adopt a resolution designating all or part of the unincorporated area of a county as a restricted area, prohibiting the construction of any or all of the following: (1) An economically significant wind farm; (2) A large wind farm; (3) A large solar facility.
Source ORC 303.57 to 303.62 county restricted areas · page 3 · version 2023-08-01
In force from 2021-10-11 to 2025-04-08, section 303.58
303.58: version effective 2021-10-11; first change after it 2025-04-09 (H.B. 497, 135th GA), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 6
The act prohibits a person from filing an application for a certificate, or a material amendment to an existing certificate, to construct, operate, or maintain a utility facility in a restricted area, if such a facility is prohibited in that restricted area.
Source SB 52 LSC Final Analysis · page 6 · version 2021-10-11
May be cited on the cut-off date.
Quoted from the law, page 7
The act conditions the designation of a restricted area upon the right of referendum the act grants county voters. A resolution designating a restricted area becomes effective 30 days from the day it is adopted, unless a referendum petition is filed with the board of county commissioners.
Source SB 52 LSC Final Analysis · page 7 · version 2021-10-11
May be cited on the cut-off date.
Quoted from the law, page 9
At least ninety days, but not more than three hundred days, prior to applying for a certificate from the power siting board, or a material amendment to an existing certificate, for a utility facility, to be located in whole or in part in the unincorporated area of a county, the person intending to apply shall hold a public meeting in each county where the utility facility is to be located.
Source ORC 303.57 to 303.62 county restricted areas · page 9 · version 2023-08-01
In force from 2021-10-11 to 2026-10-03, section 303.61
303.61: version effective 2021-10-11, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 11
Not later than ninety days after the public meeting described in section 303.61 of the Revised Code regarding an application for a certificate, or a material amendment to an existing certificate, for a utility facility, the board of county commissioners may adopt a resolution that does either of the following:
Source ORC 303.57 to 303.62 county restricted areas · page 11 · version 2023-08-01
In force from 2021-10-11 to 2026-10-03, section 303.62
303.62: version effective 2021-10-11, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 11
(1) Prohibits the construction of the utility facility that is the subject of the certificate; (2) Limits the boundaries of the proposed utility facility to a smaller geographic area of the county, completely within what was proposed by the applicant. (B) If no resolution is adopted within the time required under this section, the application may proceed as filed with the power siting board.
Source ORC 303.57 to 303.62 county restricted areas · page 11 · version 2023-08-01
In force from 2021-10-11 to 2026-10-03, section 303.62
303.62: version effective 2021-10-11, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 24
Whenever an application is made to the power siting board for a certificate or a material amendment to an existing certificate for a utility facility, the board shall include two voting ad hoc members to represent the interests of the residents of the area in which the utility facility is to be located.
Source ORC 4906 Power Siting Board · page 24 · version 2023-08-01
In force from 2021-10-11 to 2026-10-03, section 4906.021
4906.021: version effective 2021-10-11, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 24
(C)(1) The ad hoc members shall be: (a) The chairperson of the board of township trustees of the township in which the utility facility is to be located or the chairperson's designee; (b) The president of the board of county commissioners of the county in which the utility facility is to be located or the president's designee
Source ORC 4906 Power Siting Board · page 24 · version 2023-08-01
In force from 2021-10-11 to 2026-10-03, section 4906.021
4906.021: version effective 2021-10-11, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 4
States that applications for a certificate or material amendment to an existing certificate for a large solar facility are not subject to the act's provisions if, as of October 11, 2021: The facility is in the PJM Interconnection and Regional Transmission Organization, L.L.C. (PJM), New Services Queue;
Source SB 52 LSC Final Analysis · page 4 · version 2021-10-11
May be cited on the cut-off date.
Quoted from the law, page 13
if, as of the effective date of this section: (1) The applicant has received a completed system impact study from PJM for the large solar facility; and (2) The applicant has paid the fee for the facilities study to PJM.
Source SB 52 134th GA as enrolled · page 13 · version 2021-10-11
May be cited on the cut-off date.
Quoted from the law, page 4
The application has been found to be in compliance with the application requirements by the PSB Chairperson (or the Chairperson’s designee) and has been accepted by PSB;
Source SB 52 LSC Final Analysis · page 4 · version 2021-10-11
May be cited on the cut-off date.
OPSB-approved decommissioning plan (engineer-prepared, with cost estimate) and decommissioning performance bond for a large solar facility
OH-DECOM · Ohio Power Siting Board (OPSB)
	Applicability
	Required

	Instrument
	ORC 4906.21, 4906.211, 4906.212, 4906.22, 4906.221 and 4906.222 (SB 52, effective 2021-10-11); OAC 4906-4-06(F)(5)

	Trigger
	Commencement of construction of a large solar facility under an OPSB certificate that is subject to SB 52.

	Description
	SB 52 requires decommissioning for 'utility facilities', which include large solar facilities. At least 60 days before construction begins, the applicant must submit a comprehensive decommissioning plan to the OPSB for review and approval. A registered engineer prepares it, listing the responsible parties, a schedule that ends within 12 months of the facility ceasing operation, and a full cost estimate recalculated every five years. Before construction begins the applicant must also post a performance bond, with the board as obligee, equal to that estimate; it is updated every five years, increased if costs rise and never reduced. The application must also describe the decommissioning plan and any financial arrangements (OAC 4906-4-06(F)(5)). The library holds detailed decommissioning and bond rules only for wind farms, none for solar. SB 52's Section 4 says a qualifying large solar facility in the PJM new services queue is not subject to the act's provisions; read on its words that would include these decommissioning sections, which the act enacted, but the sources in force do not address the point.

	Typical timeline
	Law: the plan is due at least 60 days before construction begins; the bond is posted before construction begins; the cost estimate and the bond are updated every five years; the schedule must finish within 12 months of the facility ceasing operation. The library gives no review period for the OPSB's approval of the plan. Practice estimate: have the engineer's plan and the bond arrangement ready during the certificate review so the 60-day deadline does not hold up the start of construction.

	Version of the law on the cut-off
	SB 52 as enacted (statute text only)

	As of the cut-off
	As of the cut-off: SB 52 took effect and enacted ORC 4906.21 to 4906.222. ORC 4906.21(A) refers to sections 4906.21 to 4906.232; the Legislative Service Commission's final analysis says 4906.232 is a technical error for 4906.222. (2021-10-11)

	Verification
	PACK_PENDING_QUALIFIED_REVIEW

	Source
	pack:oh.json

	In the permit matrix
	OH-DECOM


Legal basis: 9 quotes from dated law
Quoted from the law, page 26
(2) "Material amendment" and "utility facility" have the same meanings as in section 303.57 of the Revised Code. (B) At least sixty days prior to the commencement of construction of a utility facility, the applicant shall submit a comprehensive decommissioning plan for review and approval by the power siting board.
Source ORC 4906 Power Siting Board · page 26 · version 2023-08-01
In force from 2021-10-11 to 2026-10-03, section 4906.21
4906.21: version effective 2021-10-11, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 2
(D) "Utility facility" means an economically significant wind farm, a large wind farm, or a large solar facility.
Source ORC 303.57 to 303.62 county restricted areas · page 2 · version 2023-08-01
In force from 2021-10-11 to 2026-10-03, section 303.57
303.57: version effective 2021-10-11, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 42
The decommissioning plan submitted to the power siting board under section 4906.21 of the Revised Code shall be prepared by a professional engineer registered with the state board of registration for professional engineers and surveyors.
Source ORC 4906 Power Siting Board · page 42 · version 2023-08-01
In force from 2021-10-11 to 2026-10-03, section 4906.211
4906.211: version effective 2021-10-11, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 42
(B) The plan shall contain the following: (1) A list of all parties responsible for decommissioning;
Source ORC 4906 Power Siting Board · page 42 · version 2023-08-01
In force from 2021-10-11 to 2026-10-03, section 4906.211
4906.211: version effective 2021-10-11, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 42
(2) A schedule of decommissioning activities, not to extend beyond twelve months from the date the utility facility ceases operation; (3) An estimate of the full costs of decommissioning the utility facility, including the proper disposal of all facility components and restoration of the land on which the facility is located to its pre-
construction state.
Source ORC 4906 Power Siting Board · page 42 · version 2023-08-01
In force from 2021-10-11 to 2026-10-03, section 4906.211
4906.211: version effective 2021-10-11, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 28
(A) Prior to beginning construction, the applicant shall post a performance bond to ensure that funds are available for the decommissioning of the facility. (B) The power siting board shall be the obligee of the bond.
Source ORC 4906 Power Siting Board · page 28 · version 2023-08-01
In force from 2021-10-11 to 2026-10-03, section 4906.22
4906.22: version effective 2021-10-11, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 14
The performance bond must equal the estimate of the costs of decommissioning included in the decommissioning plan and must be updated every five years. If decommissioning costs are greater in the new estimate than they were in the preceding estimate, the performance bond must be increased proportionately. The performance bond can never decrease,
Source SB 52 LSC Final Analysis · page 14 · version 2021-10-11
May be cited on the cut-off date.
Quoted from the law, page 12
(5) The applicant shall describe the plan for decommissioning the proposed facility, including a discussion of any financial arrangements designed to assure the requisite financial resources.
Source OAC 4906 4 OPSB generation facility applications · page 12 · version 2023-08-01
In force from 2015-12-11 to 2024-05-29, section 4906-4-06
4906-4-06: version effective 2015-12-11; first change after it 2024-05-30 (OPSB Case 21-902-GE-BRO (determination 2023-07-20); chapter 4906-4 restructured (formerly generation chapter merged with 5)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 4
States that applications for a certificate or material amendment to an existing certificate for a large solar facility are not subject to the act’s provisions if, as of October 11, 2021:
Source SB 52 LSC Final Analysis · page 4 · version 2021-10-11
May be cited on the cut-off date.
Optional qualified energy project tax exemption with annual payment in lieu of taxes, approved by the board of county commissioners or under an alternative energy zone resolution (an incentive, not a permit)
OH-PILOT · Ohio Department of Development (Director of Development certifies); board of county commissioners of each county where project property is located (approval or alternative energy zone resolution); county treasurer (service payments)
	Applicability
	Likely

	Instrument
	ORC 5727.75 (version effective 2022-07-21)

	Trigger
	A project of twenty megawatts or greater that applies to the Director of Development for qualified energy project certification to obtain the property tax exemption.

	Description
	An optional tax incentive that needs the county's approval; it is not a permit. A project that the Director of Development certifies as a qualified energy project using renewable energy resources has its tangible personal property exempt from taxation for tax years 2011 through 2025 if the statutory conditions are met. For a project of twenty megawatts or greater, a board of county commissioners in a county where project property is located must have adopted a resolution approving the application, either for the project or by declaring the county an alternative energy zone, which treats later applications as approved. The owner makes annual service payments in lieu of taxes to the county treasurer; for a solar energy project the payment is seven thousand dollars per megawatt of nameplate capacity in the county.

	Typical timeline
	Applications to the Director of Development are due on or before 2024-12-31 for a project using renewable energy resources (ORC 5727.75(E)(1)(a)). Construction must begin before 2025-01-01, counted from the earlier of the application for a certificate or other approval or the construction contract (ORC 5727.75(B)(1)(b)). A county board sends notice of its resolution within thirty days after receipt of the application, or a longer period if the Director authorizes (ORC 5727.75(E)(1)(b)).

	Version of the law on the cut-off
	ORC 5727.75 as effective 2022-07-21 (the library text)

	Verification
	PACK_PENDING_QUALIFIED_REVIEW

	Source
	pack:oh.json

	In the permit matrix
	OH-PILOT


Legal basis: 8 quotes from dated law
Quoted from the law, page 1
Tangible personal property of a qualified energy project using renewable energy resources is exempt from taxation for tax years 2011 through 2025 if all of the following conditions are satisfied:
Source ORC 5727.75 qualified energy projects PILOT · page 1 · version 2023-08-01
In force from 2022-07-21 to 2023-10-02, section 5727.75
5727.75: version effective 2022-07-21; first change after it 2023-10-03 (Am. Sub. H.B. 33, 135th GA (operating budget; signed 2023-07-04)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 2
For a qualified energy project with a nameplate capacity of twenty megawatts or greater, a board of county commissioners of a county in which property of the project is located has adopted a resolution under division (E)(1)(b) or (c) of this section to approve the application submitted under division (E) of this section
Source ORC 5727.75 qualified energy projects PILOT · page 2 · version 2023-08-01
In force from 2022-07-21 to 2023-10-02, section 5727.75
5727.75: version effective 2022-07-21; first change after it 2023-10-03 (Am. Sub. H.B. 33, 135th GA (operating budget; signed 2023-07-04)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 2
Construction or installation of the energy facility begins on or after January 1, 2009, and before January 1, 2025. For the purposes of this division, construction begins on the earlier of the date of application for a certificate or other approval or permit described in division (B)(1)(a) of this section
Source ORC 5727.75 qualified energy projects PILOT · page 2 · version 2023-08-01
In force from 2022-07-21 to 2023-10-02, section 5727.75
5727.75: version effective 2022-07-21; first change after it 2023-10-03 (Am. Sub. H.B. 33, 135th GA (operating budget; signed 2023-07-04)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 4
A board of county commissioners may adopt a resolution declaring the county to be an alternative energy zone and declaring all applications submitted to the director of development under this division after the adoption of the resolution, and prior to its repeal, to be approved by the board.
Source ORC 5727.75 qualified energy projects PILOT · page 4 · version 2023-08-01
In force from 2022-07-21 to 2023-10-02, section 5727.75
5727.75: version effective 2022-07-21; first change after it 2023-10-03 (Am. Sub. H.B. 33, 135th GA (operating budget; signed 2023-07-04)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 4
The board shall send such notice within thirty days after receipt of the application, or a longer period of time if authorized by the director.
Source ORC 5727.75 qualified energy projects PILOT · page 4 · version 2023-08-01
In force from 2022-07-21 to 2023-10-02, section 5727.75
5727.75: version effective 2022-07-21; first change after it 2023-10-03 (Am. Sub. H.B. 33, 135th GA (operating budget; signed 2023-07-04)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 8
shall make annual service payments in lieu of taxes to the county treasurer on or before the final dates for payments of taxes on public utility personal property on the real and public utility personal property tax list for each tax year for which property of the energy project is exempt from taxation under this section.
Source ORC 5727.75 qualified energy projects PILOT · page 8 · version 2023-08-01
In force from 2022-07-21 to 2023-10-02, section 5727.75
5727.75: version effective 2022-07-21; first change after it 2023-10-03 (Am. Sub. H.B. 33, 135th GA (operating budget; signed 2023-07-04)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 8
Each payment shall be in the following amount: (1) In the case of a solar energy project, seven thousand dollars per megawatt of nameplate capacity located in the county as of the thirty-first-day of December of the preceding tax year;
Source ORC 5727.75 qualified energy projects PILOT · page 8 · version 2023-08-01
In force from 2022-07-21 to 2023-10-02, section 5727.75
5727.75: version effective 2022-07-21; first change after it 2023-10-03 (Am. Sub. H.B. 33, 135th GA (operating budget; signed 2023-07-04)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 3
A person may apply to the director of development for certification of an energy project as a qualified energy project on or before the following dates: (i) December 31, 2024, for an energy project using renewable energy resources;
Source ORC 5727.75 qualified energy projects PILOT · page 3 · version 2023-08-01
In force from 2022-07-21 to 2023-10-02, section 5727.75
5727.75: version effective 2022-07-21; first change after it 2023-10-03 (Am. Sub. H.B. 33, 135th GA (operating budget; signed 2023-07-04)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Special hauling permits for oversize or overweight loads, ODOT right-of-way and access permits, and county approval of obstructions in highways outside the state system
OH-ROAD · Ohio Department of Transportation (ODOT) for state highways; local authorities for hauling permits on highways under their jurisdiction; board of county commissioners (obstructions in highways outside the state system)
	Applicability
	Likely

	Instrument
	ORC 4513.34; ORC 5515.01 and 5515.02; ORC 5547.04; ODOT State Highway Access Management Manual; OAC 4906-4-06(F)

	Trigger
	Hauling heavy or overweight loads to the site, or placing a site entrance, culvert, utility crossing or other facility in a public highway or its right-of-way.

	Description
	ODOT, for the state highway system, and local authorities, for highways under their jurisdiction, issue special regional heavy hauling permits on written application; a local authority may require a mutual agreement to compensate for or repair excess roadway damage as a condition of an overweight permit. ODOT right-of-way permits cover work in state right-of-way such as field driveways, utility work, pipeline installation and soil boring; the director may permit use or occupancy of the state highway system, and a permit holder must relocate its property if the director considers it an obstruction. Outside the state system, an obstruction in a highway needs the approval of the board of county commissioners. The OPSB application must describe road and bridge impacts and repairs and list all transportation permits.

	Typical timeline
	ODOT's access management manual says decisions on an access request are generally provided within 30 calendar days after all necessary application information is provided and correct (State Highway Access Management Manual, section 2.3).

	Version of the law on the cut-off
	As in force from 2023-06-30 (the library text)

	Verification
	PACK_PENDING_QUALIFIED_REVIEW

	Source
	pack:oh.json

	In the permit matrix
	OH-ROAD


Legal basis: 8 quotes from dated law
Quoted from the law, page 1
The director of transportation with respect to all highways that are a part of the state highway system and local authorities with respect to highways under their jurisdiction, upon application in writing, shall issue a special regional heavy hauling permit authorizing the applicant to operate or move a vehicle or combination of vehicles as follows:
Source ORC 4513.34 5515 5547.04 5571.16 roads · page 1 · version 2023-08-01
In force from 2023-06-30 to 2026-10-03, section 4513.34
4513.34: version effective 2023-06-30, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 3
In addition, a local authority, as a condition of issuance of an overweight permit, may require the applicant to develop and enter into a mutual agreement with the local authority to compensate for or to repair excess damage caused to the roadway by travel under the permit.
Source ORC 4513.34 5515 5547.04 5571.16 roads · page 3 · version 2023-08-01
In force from 2023-06-30 to 2026-10-03, section 4513.34
4513.34: version effective 2023-06-30, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 6
The director of transportation may upon formal application being made to the director, grant a permit to any individual, firm, or corporation to use or occupy such portion of a road or highway on the state highway system as will not incommode the traveling public.
Source ORC 4513.34 5515 5547.04 5571.16 roads · page 6 · version 2023-08-01
In force from 2010-09-13 to 2025-06-29, section 5515.01
5515.01: version effective 2010-09-13; first change after it 2025-06-30 (H.B. 54, 136th GA (transportation budget), per input list only), from codes.ohio.gov version history in archive captures (one_source)
May be cited on the cut-off date.
Quoted from the law, page 8
so occupying any road or highway on the state highway system, under and by virtue of a franchise or permit granted and in force, shall relocate their properties and all parts thereof within the bounds of the road or highway when in the opinion of the director they constitute obstructions,
Source ORC 4513.34 5515 5547.04 5571.16 roads · page 8 · version 2023-08-01
In force from 2001-04-05 to 2025-06-29, section 5515.02
5515.02: version effective 2001-04-05; first change after it 2025-06-30 (H.B. 54, 136th GA (transportation budget)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 1
Permits are required when working on the Ohio Department of Transportation's right-of-way. Common activities that occur along state, federal, and interstate highways that require right-of-way permits include: Residential, commercial, and field driveways Landscaping Utility work, including telephone, electric, gas, cable, water, sanitary sewer, and storm sewer Pipeline installation Soil boring Seismic surveys
Source ODOT right of way and utility permits page driveways · page 1 · version 2023-05-16
May be cited on the cut-off date.
Quoted from the law, page 1
An access request may be submitted via mail or electronically via email. Decisions for an access request will generally be provided within 30 calendar days after all necessary application information is provided and correct.
Source ODOT state highway access management manual SHAMM page · page 1 · version 2022-12-09
May be cited on the cut-off date.
Quoted from the law, page 10
No person, partnership, or corporation shall erect, within the bounds of any highway or on the bridges or culverts thereon, any obstruction without first obtaining the approval of the board in case of highways other than roads and highways on the state highway system and the bridges and culverts thereon.
Source ORC 4513.34 5515 5547.04 5571.16 roads · page 10 · version 2023-08-01
In force from 1953-10-01 to 2026-10-03, section 5547.04
5547.04: version effective 1953-10-01, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 12
Describe measures that will be taken to improve inadequate roads and repair roads and bridges to at least the condition present prior to the project. (4) The applicant shall list all transportation permits required for construction and operation of the project, and describe any necessary coordination with appropriate authorities for temporary or permanent road closures
Source OAC 4906 4 OPSB generation facility applications · page 12 · version 2023-08-01
In force from 2015-12-11 to 2024-05-29, section 4906-4-06
4906-4-06: version effective 2015-12-11; first change after it 2024-05-30 (OPSB Case 21-902-GE-BRO (determination 2023-07-20); chapter 4906-4 restructured (formerly generation chapter merged with 5)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Petition proceeding before the board of county commissioners (or joint board) for any alteration of a county or joint county ditch, respect for the county's maintenance easement, and field tile protection and repair under the OPSB rules
OH-DITCH · Board of county commissioners (or the joint board of county commissioners for a joint county ditch) and the county engineer; Ohio Power Siting Board (OPSB) (field tile requirements in the certificate application)
	Applicability
	Conditional

	Instrument
	ORC Chapters 6131, 6133 and 6137 (versions effective 2021-03-24); OAC 4906-4-08(E)

	Trigger
	The project would alter a county or joint county ditch, or build in the strip along it that maintenance crews may use.

	Description
	A petition for a county ditch goes to the board of county commissioners; where land in two or more counties is affected, a joint board of the counties' commissioners conducts the proceeding. For a single county ditch the county engineer has general charge of repair and maintenance. Filling, tiling, boxing, arching, relocating or otherwise changing a ditch is an improvement, which begins with a petition to the board. The permanent maintenance easement is not more than twenty-five feet from the top of the bank on an open ditch and not more than eighty feet centered on the centerline of a closed ditch. The chapters do not themselves set out a separate ditch-crossing permit, so confirm with the county engineer what a crossing needs. The OPSB application must show avoidance or minimization of damage to field tile and timely repair at the applicant's expense.

	Typical timeline
	After a petition is filed, the board sets a view between thirty and one hundred twenty days later and a first hearing thirty to ninety days after the view (ORC 6131.07(B)).

	Verification
	PACK_PENDING_QUALIFIED_REVIEW

	Source
	pack:oh.json

	In the permit matrix
	OH-DITCH


Legal basis: 8 quotes from dated law
Quoted from the law, page 1
"Improvement" includes: (1) The location, construction, reconstruction, reconditioning, widening, deepening, straightening, altering, boxing, tiling, filling, walling, arching, or any change in the course, location, or terminus of any ditch, drain, watercourse, or floodway;
Source ORC 6131 6133 6137 county ditches · page 1 · version 2023-08-01
In force from 2021-03-24 to 2026-10-03, section 6131.01
6131.01: version effective 2021-03-24, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 6
Any owner may file a petition for the construction of a drainage improvement with the clerk of the board of county commissioners of the county in which is located a part of the land proposed to benefit from the improvement.
Source ORC 6131 6133 6137 county ditches · page 6 · version 2023-08-01
In force from 2021-03-24 to 2026-10-03, section 6131.04
6131.04: version effective 2021-03-24, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 10
which shall be between thirty and one hundred twenty days after the date on which the petition was filed with the clerk; (2) Establish a date and hour between thirty and ninety days after the date set for the view, when it will hold its first hearing on the petition.
Source ORC 6131 6133 6137 county ditches · page 10 · version 2023-08-01
In force from 2021-03-24 to 2026-10-03, section 6131.07
6131.07: version effective 2021-03-24, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 79
When an improvement is proposed to be located in or benefits or damages land in two or more counties, the proceeding shall be conducted by a joint board of county commissioners consisting of the members of the boards of county commissioners of the several counties in which land may be benefited or damaged by the proposed improvement.
Source ORC 6131 6133 6137 county ditches · page 79 · version 2023-08-01
In force from 2021-03-24 to 2026-10-03, section 6133.02
6133.02: version effective 2021-03-24, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 101
With regard to a single county improvement, the county engineer has general charge and supervision of the repair and maintenance of all county drainage improvements constructed under Chapters 940., 6131., 6133., and 6135. of the Revised Code.
Source ORC 6131 6133 6137 county ditches · page 101 · version 2023-08-01
In force from 2021-03-24 to 2026-10-03, section 6137.06
6137.06: version effective 2021-03-24, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 111
In the case of open ditches, the permanent easement so used shall be not more than twenty-
five feet from the top of the bank, measured at right angles thereto, and wherever practical the area so used shall be on one side of the ditch only.
Source ORC 6131 6133 6137 county ditches · page 111 · version 2023-08-01
In force from 2021-03-24 to 2026-10-03, section 6137.12
6137.12: version effective 2021-03-24, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 111
The maximum width of permanent easement for closed ditches shall not exceed eighty feet centered on the centerline of the improvement.
Source ORC 6131 6133 6137 county ditches · page 111 · version 2023-08-01
In force from 2021-03-24 to 2026-10-03, section 6137.12
6137.12: version effective 2021-03-24, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 32
Avoidance or minimization to the maximum extent practicable of any damage to field tile drainage systems and soils in agricultural areas. (ii) Timely repair of damaged field tile systems to at least original conditions, at the applicant's expense.
Source OAC 4906 4 OPSB generation facility applications · page 32 · version 2023-08-01
In force from 2018-04-26 to 2024-05-29, section 4906-4-08
4906-4-08: version effective 2018-04-26; first change after it 2024-05-30 (OPSB Case 21-902-GE-BRO (determination 2023-07-20)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Distances from generation equipment to structures and property lines in the OPSB application (no minimum setback for solar before 2024-05-30)
OH-SETBACK · Ohio Power Siting Board (OPSB)
	Applicability
	Required

	Instrument
	OAC 4906-4-08(C)(1)(b) (distance table)

	Trigger
	An OPSB certificate application for a generating facility of 50 MW or more, including a solar facility.

	Description
	No minimum setback from homes, property lines or roads applies to a solar facility under the OPSB rules in force; the statutory and rule setbacks are for wind turbines. The application must table the distance to every structure and property line within 1,500 feet of the generation equipment, and within 250 feet of a collection line, access road or other associated facility, and say whether each property is leased by the applicant. Separation from homes is therefore documented in the application and settled in the certificate, not set by a fixed distance.

	Typical timeline
	Part of the OPSB application (see OH-OPSB).

	Version of the law on the cut-off
	OAC 4906-4-08(C)(1)(b) as in force before 2024-05-30

	As of the cut-off
	As of the cut-off: The OPSB adopted revised rules effective 2024-05-30. OAC 4906-4-09 becomes 'Regulations associated with renewable energy generation facilities', with an operating noise limit for solar and wind (the greater of 40 dBA or the ambient L50 plus 5 dBA at non-participating sensitive receptors within one mile of the project boundary), construction hours, and minimum setbacks from solar modules (50 ft from non-participating parcel boundaries, 300 ft from non-participating residences, 150 ft from the edge of road pavement). Amendments apply only to applications filed after the rule's effective date. Not in force on 2023-08-01. (2023-07-20)

	Verification
	PACK_PENDING_QUALIFIED_REVIEW

	Source
	pack:oh.json

	In the permit matrix
	OH-SETBACK


Legal basis: 3 quotes from dated law
Quoted from the law, page 26
For all structures and property lines within one thousand five hundred feet of the generation equipment or wind turbine
Source OAC 4906 4 OPSB generation facility applications · page 26 · version 2023-08-01
In force from 2018-04-26 to 2024-05-29, section 4906-4-08
4906-4-08: version effective 2018-04-26; first change after it 2024-05-30 (OPSB Case 21-902-GE-BRO (determination 2023-07-20)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 26
For all structures and property lines within two hundred fifty feet of a collection line
Source OAC 4906 4 OPSB generation facility applications · page 26 · version 2023-08-01
In force from 2018-04-26 to 2024-05-29, section 4906-4-08
4906-4-08: version effective 2018-04-26; first change after it 2024-05-30 (OPSB Case 21-902-GE-BRO (determination 2023-07-20)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 33
Regulations associated with wind farms.
Source OAC 4906 4 OPSB generation facility applications · page 33 · version 2023-08-01
In force from 2020-12-21 to 2024-05-29, section 4906-4-09
4906-4-09: version effective 2020-12-21; first change after it 2024-05-30 (OPSB Case 21-902-GE-BRO (determination 2023-07-20); new solar requirements in 4906-4-09 per Bricker), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Local (6)
County engineer permits for work in the county road right-of-way and for driveways
CCO-ROW · Carroll County Engineer and Board of County Commissioners (county roads)
	Applicability
	Likely

	Instrument
	County Engineer's Permit for the Use of the County Highway Right-of-Way (rev. 4/2022) and Driveway Permit for Construction within the County Right-of-Way Limits (rev. 5/2020); ORC 5547.04

	Trigger
	Any work within the right-of-way of a county road, or any driveway that connects to a county road.

	Description
	Work within a county road right-of-way needs the Permit for the Use of the County Highway Right-of-Way from the County Engineer's office, with a drawing of the work; underground lines parallel to the road run at least 30 inches deep behind the ditch line. A driveway that connects to a county road needs a permit from the Board of County Commissioners issued through the County Engineer; the form has a temporary-access option, removed when the project ends, with traffic-control measures. The Engineer's page also lists a Roadway Use and Maintenance Agreement for Power Facilities (form text not in the library). ORC 5547.04 bars erecting an obstruction within a highway other than a state highway without the approval of the board of county commissioners. ORC 4906.13(B) bars a political subdivision from requiring 'any approval, consent, permit, certificate, or other condition' for an OPSB-certificated facility, while OAC 4906-4-06(F)(4) has the applicant list all transportation permits required; the sources do not settle whether these permits bind a certificated project.

	Typical timeline
	No review period is stated in the sources; the County Engineer's Office must be notified two working days before work starts in the right-of-way (right-of-way permit condition 3).

	As of the cut-off
	As of the cut-off: ORC 4906.13 (No local jurisdiction) took effect in the version in force on 2023-08-01 (House Bill 6, 133rd General Assembly). (2019-10-22)

	Verification
	PACK_PENDING_QUALIFIED_REVIEW

	Source
	pack:oh_carroll_county.json

	In the permit matrix
	CCO-ROW


Legal basis: 8 quotes from dated law
Quoted from the law, page 1
1. Attach a drawing of the proposed work. Show plan, profile, section, pavement, pipes, bridges, etc. 2. Underground lines, etc. parallel to the road shall be no less than 30” deep, located behind the back side of the ditch line and have permanent markers at the R/W line, angle points every 200 feet within the R/W.
Source Carroll County OH Engineer Right of Way Permit rev 2022 04 · page 1 · version 2022-06-29
May be cited on the cut-off date.
Quoted from the law, page 1
3. The County Engineer’s Office shall be notified two working days before any work is started within the R/W. 4. Any expense incurred by the County due to the applicant’s use of the R/W will be paid by the applicant.
Source Carroll County OH Engineer Right of Way Permit rev 2022 04 · page 1 · version 2022-06-29
May be cited on the cut-off date.
Quoted from the law, page 1
All driveways that connect to a county road in Carroll County require a permit from the Board of County Commissioners issued through the office of the County Engineer.
Source Carroll County OH Engineer Driveway Construction Permit rev 2020 05 · page 1 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 2
Temporary access permit only. Driveway to be removed upon completion of the project. Temporary Drive Permit Requirements: All temporary driveway permits must utilize Management of Traffic (MOT) measures (e.g. flagging, signage) as outlined by applicable material from ODOT’s Ohio Manual of Uniform Traffic Control Devices (OMUTCD).
Source Carroll County OH Engineer Driveway Construction Permit rev 2020 05 · page 2 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 1
Roadway Use and Maintenance Agreement for Power Facilities Driveway Permit for Construction Within The County Right-of-Way Limits (Commercial) Driveway Permit for Construction within the County Right of Way Limits (Residential) Permit for The Use of The County Highway Right-of-Way Special Hauling Permit Road Bond Form
Source Carroll County OH Engineer page · page 1 · version 2023-06-05
May be cited on the cut-off date.
Quoted from the law, page 10
No person, partnership, or corporation shall erect, within the bounds of any highway or on the bridges or culverts thereon, any obstruction without first obtaining the approval of the board in case of highways other than roads and highways on the state highway system and the bridges and culverts thereon.
Source ORC 4513.34 5515 5547.04 5571.16 roads · page 10 · version 2023-08-01
In force from 1953-10-01 to 2026-10-03, section 5547.04
5547.04: version effective 1953-10-01, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 20
No public agency or political subdivision of this state may require any approval, consent, permit, certificate, or other condition for the construction or operation of a major utility facility or economically significant wind farm authorized by a certificate issued pursuant to Chapter 4906. of the Revised Code.
Source ORC 4906 Power Siting Board · page 20 · version 2023-08-01
In force from 2019-10-22 to 2026-10-03, section 4906.13
4906.13: version effective 2019-10-22, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 12
(4) The applicant shall list all transportation permits required for construction and operation of the project, and describe any necessary coordination with appropriate authorities for temporary or permanent road closures, lane closures, road access restrictions, and traffic control necessary for construction and operation of the proposed facility.
Source OAC 4906 4 OPSB generation facility applications · page 12 · version 2023-08-01
In force from 2015-12-11 to 2024-05-29, section 4906-4-06
4906-4-06: version effective 2015-12-11; first change after it 2024-05-30 (OPSB Case 21-902-GE-BRO (determination 2023-07-20); chapter 4906-4 restructured (formerly generation chapter merged with 5)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
County special hauling permit for oversize or overweight loads (county roads; township trustees to be contacted for township roads)
CCO-HAUL · Carroll County Engineer and Board of County Commissioners (county roads); township trustees (township roads)
	Applicability
	Likely

	Instrument
	Carroll County Special Hauling Permit (rev. 05/2020) with road bond form; ORC 4513.34

	Trigger
	Heavy hauling, meaning a vehicle or load above the legal size or weight, on county roads; the township trustees must also be contacted for township roads.

	Description
	Heavy hauling over county roads needs an approved Special Hauling Permit before any hauling starts, at no charge; the township trustees must be contacted for township roads. A bond of at least $25,000 per mile is required, with the County Commissioners listed as obligee, and a separate Shared Road Use Maintenance Agreement may be required where a road already has one. From December 1 to May 15 legal load limits on county and township roads fall 25% and heavy hauling may be permitted only when the roadway is frozen. The County Engineer prices road damage and bills it, and the bond is returned or transferred by the road's condition after hauling. ORC 4513.34 has local authorities issue special heavy hauling permits for loads above the legal size or weight. ORC 4906.13(B) bars a political subdivision from requiring 'any approval, consent, permit, certificate, or other condition' for an OPSB-certificated facility; the sources do not settle whether that reaches this permit.

	Typical timeline
	No review period is stated in the sources; legal load limits fall 25% from December 1 to May 15, and heavy hauling in that period may be permitted only when the roadway is frozen and the County Engineer's Office is contacted before each haul.

	As of the cut-off
	As of the cut-off: ORC 4906.13 (No local jurisdiction) took effect in the version in force on 2023-08-01 (House Bill 6, 133rd General Assembly). (2019-10-22)

	Verification
	PACK_PENDING_QUALIFIED_REVIEW

	Source
	pack:oh_carroll_county.json

	In the permit matrix
	CCO-HAUL


Legal basis: 8 quotes from dated law
Quoted from the law, page 1
All heavy hauling operations using county roads must obtain an approved “Special Hauling Permit” before starting any hauling. There is no charge for the permit. The appropriate Township Trustees must also be contacted before hauling on township roads.
Source Carroll County OH Engineer Special Hauling Permit 2022 04 · page 1 · version 2022-06-29
May be cited on the cut-off date.
Quoted from the law, page 1
Township Trustee lists are available at the County Engineer’s Office. A minimum $25,000.00 per mile bond will be required.
Source Carroll County OH Engineer Special Hauling Permit 2022 04 · page 1 · version 2022-06-29
May be cited on the cut-off date.
Quoted from the law, page 1
During the period of high soil moisture and potential freeze/thaw cycles, the legal load limits on all county and township roads are reduced 25%. The load reduction period, set by the Carroll County Commissioners, is between December 1 and May 15.
Source Carroll County OH Engineer Special Hauling Permit 2022 04 · page 1 · version 2022-06-29
May be cited on the cut-off date.
Quoted from the law, page 1
Heavy hauling may only be permitted when the roadway is frozen during the Frost Law Period. The company must contact the County Engineer’s Office each time they are planning any heavy hauling during the Frost Law Period.
Source Carroll County OH Engineer Special Hauling Permit 2022 04 · page 1 · version 2022-06-29
May be cited on the cut-off date.
Quoted from the law, page 1
The normal bond during the Frost Law Period is $25,000 per mile surety bond and the Carroll County Commissioners shall be listed as obligees on the bond. In the event that any road on the route has a current Road Use Maintenance Agreement, a separate Shared Road Use Maintenance Agreement may be required.
Source Carroll County OH Engineer Special Hauling Permit 2022 04 · page 1 · version 2022-06-29
May be cited on the cut-off date.
Quoted from the law, page 1
The bond will be returned to the company or transferred to another permit in whole or in part depending on the condition of the road after all hauling is completed. The County Engineer will determine the cost to repair any road damage found and bill the company.
Source Carroll County OH Engineer Special Hauling Permit 2022 04 · page 1 · version 2022-06-29
May be cited on the cut-off date.
Quoted from the law, page 1
local authorities with respect to highways under their jurisdiction, upon application in writing, shall issue a special regional heavy hauling permit authorizing the applicant to operate or move a vehicle or combination of vehicles as follows: (a) At a size or weight of vehicle or load exceeding the maximum specified in sections 5577.01 to 5577.09 of the Revised Code
Source ORC 4513.34 5515 5547.04 5571.16 roads · page 1 · version 2023-08-01
In force from 2023-06-30 to 2026-10-03, section 4513.34
4513.34: version effective 2023-06-30, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 20
No public agency or political subdivision of this state may require any approval, consent, permit, certificate, or other condition for the construction or operation of a major utility facility or economically significant wind farm authorized by a certificate issued pursuant to Chapter 4906. of the Revised Code.
Source ORC 4906 Power Siting Board · page 20 · version 2023-08-01
In force from 2019-10-22 to 2026-10-03, section 4906.13
4906.13: version effective 2019-10-22, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Culvert and bridge responsibilities on township roads (County Engineer's township road culvert policy); township driveway-culvert permits where required
CCO-CULVERT · Carroll County Engineer (bridges of ten feet or more) and township trustees (culverts on township roads)
	Applicability
	Likely

	Instrument
	Carroll County Engineer's policy on township road culverts (revised 2014-10-01); ORC 5571.16

	Trigger
	Building or replacing a culvert, driveway culvert or bridge, or excavating, in a township highway, or building a structure of ten feet or more on a county or township road.

	Description
	The County Engineer's township road culvert policy divides responsibility. A bridge is a structure of ten feet or more clear span or diameter, and the County Engineer builds and maintains all highway bridges on county and township roads. A culvert is a structure under ten feet; its road's maintenance jurisdiction builds and maintains it, so townships handle culverts on township roads, and the county may help with replacement on a formal township request, at its discretion. A township board may by resolution require a permit for a driveway culvert or an excavation in a township highway (ORC 5571.16); the library holds no township resolution. A qualified energy project of 20 MW or more must repair roads, bridges and culverts affected by construction as the county engineer determines (ORC 5727.75(F)(4)). ORC 4906.13(B) bars a political subdivision, a township included, from requiring 'any approval, consent, permit, certificate, or other condition' for an OPSB-certificated facility; the sources do not settle whether that reaches township culvert permits.

	Typical timeline
	No review period is stated in the policy or in ORC 5571.16.

	As of the cut-off
	As of the cut-off: County Engineer's township road culverts policy last revised (the policy text reads 'Policy Revised: 10/1/14'). (2014-10-01) ORC 4906.13 (No local jurisdiction) took effect in the version in force on 2023-08-01 (House Bill 6, 133rd General Assembly). (2019-10-22)

	Verification
	PACK_PENDING_QUALIFIED_REVIEW

	Source
	pack:oh_carroll_county.json

	In the permit matrix
	CCO-CULVERT


Legal basis: 8 quotes from dated law
Quoted from the law, page 1
Bridges are identified as any structure of ten feet (10) or more clear span or ten feet (10) or more in diameter on, above, or below a highway. The County Engineer has the responsibility to construct and maintain all highway bridges on County and Township roads in Carroll County.
Source Carroll County OH Township Road Culverts Policy OCR · page 1 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 1
Culverts are identified as any structure less than ten feet (10’) clear span/diameter on or below a highway. The responsibility to construct and maintain highway culverts on roads within Carroll County lies with the respective road maintenance jurisdiction of the highway (i.e. Township, County, and State).
Source Carroll County OH Township Road Culverts Policy OCR · page 1 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 1
Townships are responsible for construction and maintenance of all culverts on township roads less than ten foot (10’) clear span/diameter.
Source Carroll County OH Township Road Culverts Policy OCR · page 1 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 1
Based on a formal request from the township for assistance, the County may participate in township culvert replacement projects at its discretion and within the limits of available resources.
Source Carroll County OH Township Road Culverts Policy OCR · page 1 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 11
The board of township trustees, by resolution, may require any person to obtain a permit before installing a driveway culvert or making any excavation in a township highway
Source ORC 4513.34 5515 5547.04 5571.16 roads · page 11 · version 2023-08-01
In force from 2016-09-28 to 2026-10-03, section 5571.16
5571.16: version effective 2016-09-28, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Quoted from the law, page 5
(F) The owner or a lessee pursuant to a sale and leaseback transaction of a qualified energy project shall do each of the following:
Source ORC 5727.75 qualified energy projects PILOT · page 5 · version 2023-08-01
In force from 2022-07-21 to 2023-10-02, section 5727.75
5727.75: version effective 2022-07-21; first change after it 2023-10-03 (Am. Sub. H.B. 33, 135th GA (operating budget; signed 2023-07-04)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 5
(4) For energy projects with a nameplate capacity of twenty megawatts or greater, repair all roads, bridges, and culverts affected by construction as reasonably required to restore them to their preconstruction condition, as determined by the county engineer in consultation with the local jurisdiction responsible for the roads, bridges, and culverts.
Source ORC 5727.75 qualified energy projects PILOT · page 5 · version 2023-08-01
In force from 2022-07-21 to 2023-10-02, section 5727.75
5727.75: version effective 2022-07-21; first change after it 2023-10-03 (Am. Sub. H.B. 33, 135th GA (operating budget; signed 2023-07-04)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 20
No public agency or political subdivision of this state may require any approval, consent, permit, certificate, or other condition for the construction or operation of a major utility facility or economically significant wind farm authorized by a certificate issued pursuant to Chapter 4906. of the Revised Code.
Source ORC 4906 Power Siting Board · page 20 · version 2023-08-01
In force from 2019-10-22 to 2026-10-03, section 4906.13
4906.13: version effective 2019-10-22, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Subdivision approval (no-plat minor subdivision or plat) if the project divides parcels, for example a substation parcel conveyed to a utility
CCO-SUBDIV · Carroll County Regional Planning Commission
	Applicability
	Conditional

	Instrument
	Carroll County Subdivision Regulations (originally adopted 1973-02-26; revision effective 2017-08-16), enacted under ORC Chapter 711

	Trigger
	Dividing a parcel into lots or pieces, any one under five acres, for transfer of ownership, for example a lot split or a substation parcel conveyed to a utility.

	Description
	The regulations apply to dividing a parcel into lots, any one of which is under five acres; a division into parcels of more than five acres with no new street or access easement is outside them. A division of no more than five lots along an existing public street, with no new street, may be submitted for approval without a plat; staff approve or deny within seven full working days, and that approval does not relieve the applicant of Health District or County Engineer requirements. Other divisions go through the plat process, in which the Commission acts on a final plat within 30 days or it is deemed approved. Land within three miles of a city or one and one-half miles of a village that has enacted platting jurisdiction is carved out, so check municipal platting there. ORC 4906.13(B) bars a political subdivision from requiring 'any approval, consent, permit, certificate, or other condition' for an OPSB-certificated facility; the sources do not settle whether that reaches platting of land conveyed to a utility.

	Typical timeline
	No-plat minor subdivision: approved or denied within seven full working days after submission. Final plat: acted on within 30 days after filing, otherwise deemed approved.

	As of the cut-off
	As of the cut-off: Subdivision regulations originally adopted (revision page of the regulations). (1973-02-26) Regulations revised; the revision page lists approval by the County Commissioners on 2017-06-01 and by the Regional Planning Commission on 2017-08-15. (2017-07-10) Effective date handwritten on the cover, read from the page image; the OCR text garbles it as 'August iv, 20/7'. (2017-08-16) ORC 4906.13 (No local jurisdiction) took effect in the version in force on 2023-08-01 (House Bill 6, 133rd General Assembly). (2019-10-22)

	Verification
	PACK_PENDING_QUALIFIED_REVIEW

	Source
	pack:oh_carroll_county.json

	In the permit matrix
	CCO-SUBDIV


Legal basis: 8 quotes from dated law
Quoted from the law, page 9
Divisions of land subject to the provisions of these regulations are: 1. The division of any parcel into two or more lots, or pieces, any one of which is less than five (5) acres.
Source Carroll County OH Subdivision Regulations adopted 2017 08 16 OCR · page 9 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 9
Division of land not subject to the provisions of these regulations are: 1. The division of land into parcels of more than five (5) acres each not involving any new streets, roads, or easements of access.
Source Carroll County OH Subdivision Regulations adopted 2017 08 16 OCR · page 9 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 9
The subdivision of land located in the unincorporated areas of the County except the territory which is within three (3) miles of the corporate limits of a city or within one and one-half 1-1/2) miles of the corporate limits of a Village, either of which has enacted platting jurisdiction
Source Carroll County OH Subdivision Regulations adopted 2017 08 16 OCR · page 9 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 17
is proposed along an existing public street, not involving the opening, widening or extension of any street or road, and involving no more than five (5) lots including the original tract, the said subdivision may be submitted to the Commission for approval without a plat.
Source Carroll County OH Subdivision Regulations adopted 2017 08 16 OCR · page 17 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 17
If the Commission, acting through its staff, is satisfied that such proposed subdivision is not contrary to applicable platting, subdividing or zoning regulations, it shall within seven(7) full working days after submission approve or deny such proposed subdivision.
Source Carroll County OH Subdivision Regulations adopted 2017 08 16 OCR · page 17 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 62
IMPORTANT: Minor Subdivision approval is provided for convenience. It does not in any way relieve the applicant from meeting all lawful regulations, including but not limited to the requirements of the Carroll County Subdivision Regulations, Carroll County Health District and the Carroll County Engineer.
Source Carroll County OH Subdivision Regulations adopted 2017 08 16 OCR · page 62 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 21
Commission: Acts on Final Plat - Gives approval or disapproval along with reasons for refusal in writing within thirty (30) days after plat has been officially filed, otherwise, said plat shall be deemed to have been approved.
Source Carroll County OH Subdivision Regulations adopted 2017 08 16 OCR · page 21 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 20
No public agency or political subdivision of this state may require any approval, consent, permit, certificate, or other condition for the construction or operation of a major utility facility or economically significant wind farm authorized by a certificate issued pursuant to Chapter 4906. of the Revised Code.
Source ORC 4906 Power Siting Board · page 20 · version 2023-08-01
In force from 2019-10-22 to 2026-10-03, section 4906.13
4906.13: version effective 2019-10-22, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Consistency with the county comprehensive plan (advisory)
CCO-PLAN · Carroll County Board of Commissioners and Regional Planning Commission (plan sponsors; advisory, no approval issued)
	Applicability
	Likely

	Instrument
	Carroll County 2015 Sustainable Comprehensive Plan (August 2015)

	Trigger
	Siting a utility-scale solar and storage facility in the county, where the plan favors protecting agricultural land, forests and open spaces.

	Description
	The 2015 county comprehensive plan calls itself a guide and 'not a coercive document'. Its vision is to continue to protect agricultural land, forests and open spaces, and its land-use goal is to sustain open spaces, agricultural lands and natural areas, moving development into concentrated areas. On siting, it says areas with abundant power available must be considered with other utilities and weighed against the desirability of preserving certain areas for agricultural usage, wildlife corridors and open space. When written, no township had zoning regulations. The cited passages do not address solar or battery storage, so consistency is a judgment. OPSB's application rule asks the applicant to assess compatibility with current regional plans (OAC 4906-4-08(C)(4)(d)). ORC 4906.13(B) bars a political subdivision from requiring 'any approval, consent, permit, certificate, or other condition' for an OPSB-certificated facility, so the plan is context for community relations and the OPSB record rather than a county approval.

	Typical timeline
	None: the plan is advisory and sets no application or review period.

	As of the cut-off
	As of the cut-off: ORC 4906.13 (No local jurisdiction) took effect in the version in force on 2023-08-01 (House Bill 6, 133rd General Assembly). (2019-10-22)

	Verification
	PACK_PENDING_QUALIFIED_REVIEW

	Source
	pack:oh_carroll_county.json

	In the permit matrix
	CCO-PLAN


Legal basis: 8 quotes from dated law
Quoted from the law, page 7
As mentioned earlier, the plan is a guide. It is not a coercive document. To be successful a plan must be reflective; that is, sensitive to change.
Source Carroll County OH Comprehensive Plan 2015 OCR · page 7 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 11
We will preserve the “hometown” atmosphere enjoyed by its residents as well as visitors. We will continue to protect agricultural land, forests, open spaces, streams, and ground water supply.
Source Carroll County OH Comprehensive Plan 2015 OCR · page 11 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 103
Goal 1: Carroll County residents value their open spaces, agricultural lands and natural areas. They wish to sustain these vital areas that are historically the foundation of the community's quality of life and economic base.
Source Carroll County OH Comprehensive Plan 2015 OCR · page 103 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 105
The strategy used as the base of the Carroll County Comprehensive Land Use Plan is to move development away from scattered individual lots and into concentrated development areas.
Source Carroll County OH Comprehensive Plan 2015 OCR · page 105 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 27
Those sectors of the county with abundant power available must also be considered in conjunction with the availability of other utilities, such as water, sewer and roadways, and then weighed against the desirability to preserve certain areas of the county for agricultural usage, wildlife corridors and open space.
Source Carroll County OH Comprehensive Plan 2015 OCR · page 27 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 100
Land Use Regulatory Tools No townships in Carroll County have zoning regulations. Planning Areas There appears to be some similarities between certain groupings of townships as they relate to land use planning.
Source Carroll County OH Comprehensive Plan 2015 OCR · page 100 · version 2022-03-22
May be cited on the cut-off date.
Quoted from the law, page 29
(d) Assess the compatibility of the proposed facility and the anticipated resultant regional development with current regional plans.
Source OAC 4906 4 OPSB generation facility applications · page 29 · version 2023-08-01
In force from 2018-04-26 to 2024-05-29, section 4906-4-08
4906-4-08: version effective 2018-04-26; first change after it 2024-05-30 (OPSB Case 21-902-GE-BRO (determination 2023-07-20)), from codes.ohio.gov version history in archive captures (confirmed_two_sources)
May be cited on the cut-off date.
Quoted from the law, page 20
No public agency or political subdivision of this state may require any approval, consent, permit, certificate, or other condition for the construction or operation of a major utility facility or economically significant wind farm authorized by a certificate issued pursuant to Chapter 4906. of the Revised Code.
Source ORC 4906 Power Siting Board · page 20 · version 2023-08-01
In force from 2019-10-22 to 2026-10-03, section 4906.13
4906.13: version effective 2019-10-22, still the current version when the page map was checked (2026-10-03)
May be cited on the cut-off date.
Road use agreement and pre-construction video survey for Fescue Road
L-01 · Harrison Township Trustees
	Applicability
	Required

	Instrument
	Township road use agreement

	Trigger
	Hauling on Fescue Road or other township roads.

	Description
	The trustees issue no permit but want a road use agreement and a video survey. They must be contacted before hauling. Fescue Road is a 16-foot chip-and-seal road with two 90-degree turns needing temporary widening for tractor-trailers.

	Typical timeline
	The pack gives no timeline.

	As of the cut-off
	As of 2023-07-06.

	Verification
	DATA_ROOM_EVIDENCED

	Source
	model:jurisdiction

	Basis
	C-c099b1879f (no record in the annex), C-a8a3394ea1, C-849c3eb33d (no record in the annex), C-8172eb7213

	In the permit matrix
	L-01


No citation of law for this item.
4 What is missing
The information requests the run raised for the rows of this report, by priority: what is missing, what follows from it, and whether it holds up the decision.
High priority (1)
IR-f2153419ed · High priority
Provide the permitting plan or schedule for the project area, or confirm none exists.
	Missing evidence
	Permitting plan or schedule

	Consequence
	Local Zoning & Permitting is rated on partial evidence without it.

	Blocks the decision
	No

	Raised by
	completeness


5 Next steps and agencies
Next steps
Track the commissioners' decision on the prohibition petition and confirm no restricted-area resolution is adopted.
Engage the county, township trustees and county engineer on road use agreements, bond and driveway permits.
Confirm whether the PJM exemption in SB 52 Section 4 applies.
Agencies
Carroll County
OPSB
Carroll County Engineer
Harrison Township Trustees
6 Basis and limits
This report is a desk review of the documents quoted above, as the engine read them for an information cut-off of 2023-08-01.
It is not a field survey and not a modelled study: this review made no site visit and ran no acoustic, hydraulic or other model. Where the record is silent, the report says what is missing; it does not fill the gap.
Every statement, figure and quote is the engine's record as written. The headings and connecting words are fixed text of this room, the same in every report.
Documents quoted (7)
OPSB Pre-Application Conference Summary - Tamsin Ridge Solar and Storage Project · DR-0026 · 2023-03-28 · pages 1, 2
Zoning Verification - Tamsin Ridge Solar and Storage Project · DR-0022 · 2023-02-14 · page 1
Traffic and Access Memo - Tamsin Ridge Solar and Storage Project · DR-0020 · 2023-06-19 · pages 1, 2
Summary of the County Public Meeting under ORC 303.61 - Tamsin Ridge · DR-0023 · 2023-05-12 · page 1
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