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Visual Resources & Aesthetics: desk report
Tamsin Ridge Solar and Storage
This is a fictional demonstration project in which every organisation, person, parcel and finding is invented.
One row of the risk matrix, VI-01 Visual Resources & Aesthetics, in the Visual Resources & Aesthetics section: what the record holds on it.
A desk review of the record as it stood: not a field survey and not a modelled study.
	Information cut-off
	2023-08-01

	Row in the matrix
	VI-01 Visual Resources & Aesthetics


1 Finding
2  Impacts likely but may be easily resolved
up to 3  Resource is present, likely difficult to address
The engine shows this rating as 2-3
	The rule
	Code computed the rating from the assessor's inputs:
impact_likely=yes -> 2
Set by the rule

	Decision
	Released

	Evidence state
	REPORTED · desktop, consultant or developer record


The assessor's comments
23 residences lie within 1,000 feet. Arrays are visible from about 2.1 miles of public roads, mostly within half a mile. At Pettibone Family Cemetery, 120 feet from arrays, they are visible on three sides. Low-potential glare at two residences. Moderate impact for five years, then low. No scenic byway visibility.
Worst case
If what is pending at the cut-off went badly, the same rule gives a higher rating.
	Scenario
	OPSB, responding to opposition on views and requests for 500-foot setbacks and taller screening, requires larger setbacks or more screening near homes and the cemetery, reducing usable area.

	Step still pending
	OPSB application review and public comment on the landscaping plan

	Inputs in the worst case
	Extent core · Avoidable partly · Pathway standard · Impact likely yes

	The rule on the worst case
	worst case: extent=core, avoidable=partly -> 3

	Claims that make it plausible
	C-87c8ed2e8e, C-0cac55218c, C-76863a3272, C-de59fd4446


2 What the record shows
The five inputs
Present: yes
Sensitive viewers are documented: 23 residences within 1,000 feet (C-de59fd4446), Pettibone Family Cemetery 120 feet from arrays (C-76863a3272), and arrays visible from about 2.1 miles of public roads (C-d06343c798). No visibility from a designated scenic byway or state scenic river (C-f63db08a1e) does not negate these receptors.
Cites C-de59fd4446, C-76863a3272, C-d06343c798, C-f63db08a1e
Extent: peripheral
Road visibility is mostly within half a mile (C-d06343c798), the recommended buffer is targeted at specific nearby residences rather than the whole perimeter (C-08ccaab9c2), and no scenic byway or river sees the project (C-f63db08a1e). The share of the site visible from receptors is not quantified, so this is a judgment; a KOP simulation would settle it.
Cites C-d06343c798, C-08ccaab9c2, C-f63db08a1e
Avoidable: yes
A buffer of two staggered rows of native evergreens and shrubs is recommended (C-08ccaab9c2), good neighbor agreements with screening are offered to 14 homes and three have signed (C-f20a02cd94, C-f615487362), and moderate impact is expected to fall to low as plantings mature (C-0cac55218c). Cemetery views on three sides (C-76863a3272) need design attention. No local setback or screening standard applies (C-8041623932). Opposition seeks taller screening (C-87c8ed2e8e), carried into the worst case.
Cites C-08ccaab9c2, C-f20a02cd94, C-f615487362, C-0cac55218c, C-76863a3272, C-8041623932, C-87c8ed2e8e
Pathway: standard
A landscaping plan is to be part of the OPSB application (C-29ea880786); no local zoning or screening standard applies (C-8041623932). Opposition on views and requests for 500-foot setbacks and taller screening (C-87c8ed2e8e) is not a documented individual visual proceeding.
Cites C-29ea880786, C-8041623932, C-87c8ed2e8e
Impact likely: yes
Arrays 120 feet from the cemetery are visible on three sides (C-76863a3272), 23 residences lie within 1,000 feet (C-de59fd4446), low-potential glare is predicted at two residences (C-1a3c29d782), and moderate visual impact is expected for the first five years (C-0cac55218c). Direct views are likely for a typical build.
Cites C-de59fd4446, C-76863a3272, C-1a3c29d782, C-0cac55218c
Supporting statements (12)
Each claim the row cites: the statement in the assessor's words, then the quote the engine found on the page.
C-08ccaab9c2
A vegetative buffer of two staggered rows of native evergreens and shrubs is recommended along about 14,600 linear feet, including near 14 non-participating residences.
Quoted from page 2
We recommend a vegetative buffer of two staggered rows of native evergreens and shrubs
Glare, Aviation and Visual Memo - Tamsin Ridge Solar and Storage Project · DR-0015 · Page 2 · 2023-04-25
Source consultant_memo · Claim type recommendation · Polarity neutral · Confidence high · Quote check exact, 100 of 100
Filed under EC-03, VI-01
C-0cac55218c
Moderate visual impact is expected during the first five years, falling to low, except at KOP 2 where the BESS yard and substation remain partly visible from R-6 and R-7.
Quoted from page 2
we expect a moderate visual impact during the first five years, falling to low after the
 plantings mature
Glare, Aviation and Visual Memo - Tamsin Ridge Solar and Storage Project · DR-0015 · Page 2 · 2023-04-25
Source consultant_memo · Claim type study_finding · Polarity presence · Confidence high · Quote check exact, 100 of 100
C-1a3c29d782
Low-potential (green) glare is predicted at two residences, R-11 and R-14, for 5 to 15 minutes on spring and autumn mornings.
Quoted from page 1
low-potential (green) glare at two residences (R-11 and R-14) for 5 to 15 minutes on spring and autumn mornings.
Glare, Aviation and Visual Memo - Tamsin Ridge Solar and Storage Project · DR-0015 · Page 1 · 2023-04-25
Source desktop_study · Claim type presence · Polarity presence · Confidence high · Quote check exact, 100 of 100
Cited by EN-05 · Filed under EN-05, VI-01
C-29ea880786
A landscaping plan with species, spacing and a two-year replacement warranty should be part of the OPSB application.
Quoted from page 2
should be part of the OPSB application
Glare, Aviation and Visual Memo - Tamsin Ridge Solar and Storage Project · DR-0015 · Page 2 · 2023-04-25
Source consultant_memo · Claim type recommendation · Polarity neutral · Confidence medium · Quote check exact, 100 of 100
Filed under PE-02, VI-01
C-76863a3272
At KOP 4, Pettibone Family Cemetery, 120 feet from arrays, arrays are visible on three sides without screening.
Quoted from page 2
Pettibone Family Cemetery          120 feet            Arrays visible on three sides
Glare, Aviation and Visual Memo - Tamsin Ridge Solar and Storage Project · DR-0015 · Page 2 · 2023-04-25
Source consultant_memo · Claim type presence · Polarity presence · Confidence medium · Quote check exact, 100 of 100
Cited by CU-01 · Filed under CU-01, VI-01
C-8041623932
No local zoning, conditional use, variance or site plan approval is required, and no local setback, height or screening standard applies to the proposed facility.
Quoted from page 1
No local zoning permit, conditional use permit, variance or
 site plan approval is therefore required for the proposed facility, and no local setback, height or screening
 standard applies to it.
Zoning Verification - Tamsin Ridge Solar and Storage Project · DR-0022 · Page 1 · 2023-02-14
Source agency_determination · Claim type absence · Polarity absence · Confidence high · Quote check exact, 100 of 100
Cited by EG-04, PE-01 · Filed under EG-04, PE-01, VI-01
C-87c8ed2e8e
Opponents raised property values and views, requesting 500-foot setbacks from homes and taller screening.
Quoted from page 1
Property values and views, with requests for 500-foot setbacks from homes and taller screening.
Summary of the County Public Meeting under ORC 303.61 - Tamsin Ridge · DR-0023 · Page 1 · 2023-05-12
Source developer_document · Claim type stakeholder · Polarity presence · Confidence high · Quote check exact, 100 of 100
Cited by CO-02, PE-01 · Filed under CO-02, PE-01, VI-01
C-d06343c798
The viewshed model shows arrays visible from about 2.1 miles of public roads, mostly within half a mile.
Quoted from page 2
The viewshed model shows arrays visible from about 2.1 miles of public roads, mostly within half a mile.
Glare, Aviation and Visual Memo - Tamsin Ridge Solar and Storage Project · DR-0015 · Page 2 · 2023-04-25
Source desktop_study · Claim type presence · Polarity presence · Confidence high · Quote check exact, 100 of 100
C-de59fd4446
There are 23 residences within 1,000 feet of the Project.
Quoted from page 1
the 23 residences within
 1,000 feet.
Glare, Aviation and Visual Memo - Tamsin Ridge Solar and Storage Project · DR-0015 · Page 1 · 2023-04-25
Source desktop_study · Claim type presence · Polarity presence · Confidence medium · Quote check exact, 100 of 100
Cited by CO-02 · Filed under CO-02, VI-01
C-f20a02cd94
Good neighbor agreements with payments and screening were offered to owners of 14 nearby non-participating residences; three have signed.
Quoted from page 2
Three have signed.
Option and Lease Summary - Tamsin Ridge Solar and Storage Project · DR-0004 · Page 2 · 2023-05-30
Source developer_document · Claim type stakeholder · Polarity neutral · Confidence medium · Quote check exact, 100 of 100
Cited by CO-02 · Filed under CO-02, VI-01
C-f615487362
Northfold will offer good neighbor agreements with screening to the 14 nearest non-participating homes.
Quoted from page 1
Offer good neighbor agreements, with screening, to the 14 nearest non-participating homes.
Summary of the County Public Meeting under ORC 303.61 - Tamsin Ridge · DR-0023 · Page 1 · 2023-05-12
Source developer_document · Claim type recommendation · Polarity neutral · Confidence high · Quote check exact, 100 of 100
Cited by CO-02 · Filed under CO-02, VI-01
C-f63db08a1e
The Project is not visible from any designated scenic byway or state scenic river.
Quoted from page 2
The Project is not visible from any designated scenic byway or state scenic river.
Glare, Aviation and Visual Memo - Tamsin Ridge Solar and Storage Project · DR-0015 · Page 2 · 2023-04-25
Source desktop_study · Claim type absence · Polarity absence · Confidence high · Quote check exact, 100 of 100
3 Permits and requirements
The requirements tied to the rows of this report, by level. Each quote from dated law is shown with its source, the version in force on the cut-off and the basis for it.
No requirement is tied to the rows of this report.
4 What is missing
The information requests the run raised for the rows of this report, by priority: what is missing, what follows from it, and whether it holds up the decision.
The run raised no information request for the rows of this report.
5 Next steps and agencies
Next steps
Include landscaping plan and vegetative buffer in the OPSB application.
Add screening or setback at Pettibone Family Cemetery; run KOP simulations to confirm extent.
Continue good neighbor agreements with the 14 nearest non-participating homes.
Agencies
OPSB
6 Basis and limits
This report is a desk review of the documents quoted above, as the engine read them for an information cut-off of 2023-08-01.
It is not a field survey and not a modelled study: this review made no site visit and ran no acoustic, hydraulic or other model. Where the record is silent, the report says what is missing; it does not fill the gap.
Every statement, figure and quote is the engine's record as written. The headings and connecting words are fixed text of this room, the same in every report.
Documents quoted (4)
Glare, Aviation and Visual Memo - Tamsin Ridge Solar and Storage Project · DR-0015 · 2023-04-25 · pages 1, 2
Zoning Verification - Tamsin Ridge Solar and Storage Project · DR-0022 · 2023-02-14 · page 1
Summary of the County Public Meeting under ORC 303.61 - Tamsin Ridge · DR-0023 · 2023-05-12 · page 1
Option and Lease Summary - Tamsin Ridge Solar and Storage Project · DR-0004 · 2023-05-30 · page 2
Versions and data hashes
As the engine and the exporter recorded them. Hashes are SHA-256.
	Information cut-off
	2023-08-01

	Engine version
	2.11.0

	Prompt version
	2026-11-08.1

	Rows pack
	rows.json sha256 a018ecd7e4703bc1

	Federal pack
	federal.json sha256 8841c555ff35d20b

	State pack
	oh.json sha256 d4780705e1f18d09

	Local pack
	oh_carroll_county.json sha256 905cd3308848e7e8

	Data room manifest
	0c7e80d0ad17d1e3ed4060b9702e5b1905060ae2896e9aad796a57b590005832

	Audit chain
	valid (19 events)

	QA status
	PASS_WITH_WARNINGS

	Rendered at
	2026-11-10T15:42:40+00:00

	Run record (annex)
	66fca2c4c0bfa90df1e8efb79c0d2f426536b41f50a6a9b6869dd85e4554fd50

	Exporter
	Prism/room/exporter 1.4.0
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